Comparative Lighting Power Densities

| Building or Area Type | Interior Lighting Power in Watts/ft.2 |
| --- | --- |
|  |  | Entire Building |  | Tenant Area or Portion |
|  |  | IECC 2003 | SBC-8 |  | IECC 2003 | SBC-8 |
| Dining |  | NA | NA |  | 0.9 | 1.5 |
| Exercise Center |  | 1.0 | 1.4 |  | 0.9 | 1.4 |
| Industrial work, <20 ft. ceiling |  | NA | NA |  | 1.2 | 2.2 |
| Storage, industrial & commercial |  | 0.8 | 0.6 |  | 0.8 | 1.1 |
| Theaters--motion picture |  | 1.2 | 1.1 |  | 1.2 | 1.6 |

Notes

IECC 2003 -- Values from the International Energy Conservation Code. Source, table 805.5.2

SBC-8 -- Values in Rhode Island’s pending proposed code change regulations. Source, proposed regulations, page 5.