| Consumer and Business Savings from Energy Efficiency Standards – Rhode Island |
| --- |
| Products | Annual Energy Savings Per Unit | Annual Energy Bill Savings per Unit | Incremental Cost Per Unit | Simple Payback (years) |
| Bottle Type Water Dispensers | 266 kilowatt-hours (kwh) | $30 | $12 | 0.4 |
| Commercial Boilers | 514 therms | $730 | $2,968 | 4.1 |
| Commercial Hot Food Holding Cabinets | 1,815 kwh | $207 | $453 | 2.2 |
| Compact Audio Products | 53 kwh | $7 | $1 | 0.1 |
| DVD Players and Recorders | 11 kwh | $1 | $1 | 1.0 |
| Medium-Voltage Dry Type Distribution Transformers | 6 kwh/kVA | $1/k/va | $2/kVA | 2.0 |
| BR/ER Reflector Lamps | 61 kwh | $8 | $1 | 0.1 |
| Walk In Refrigerators and Freezers | 8,220 kwh | $937 | $957 | 1.0 |
| Residential Boilers (oil) | 33.5 gallons | $77 | $29 | 0.4 |
| Residential Boilers (Natural Gas) | 35 therms | $56 | $114 | 2.0 |

| Residential Furnaces (gas) |
| --- |
| Natural gas savings | 81 therms | $129 | $372.60 | 2.9 |
| Electricity savings | 604 kwh | $76 | $100 | 1.3 |
| Total Gas Furnace Savings |  | $205 | $472.60 | 2.3 |
| Residential Furnaces (oil) |
| Oil savings | 25.5 gallons | $59 | $14 | 0.2 |
| Electricity savings | 604 kwh | $76 | $100 | 1.3 |
| Total Oil Furnace Savings |  | $135 | $114 | 0.8 |

# Footnotes

Savings are based on the following Rhode Island average energy prices: residential electricity- $0.126/kwh, commercial electricity - $0.114/kwh; residential natural gas – $1.59/therm, commercial natural gas – $1.42/therm; residential heating oil – $2.30/gallon.  Water savings are priced at $3.90 per 1000 gallons.

Sources for energy prices: electricity rates are the average 2005 rates found in the Energy Information Agency (EIA) of the Department of Energy; natural gas rates are the 2005 monthly average through October found in the EIA; heating oil prices are the weekly average between January 2005 and January  2006 found at the Rhode Island State Energy Office.  Water prices are found at the Massachusetts Water Resource Authority.

The proposed furnace standard requires improved furnace fan efficiency which saves electricity and improved fuel efficiency which saves oil or natural gas.