Energy Savings in Electricity and Natural Gas From Energy Efficiency Standards

| Rhode Island |
| --- |
| Summary of Benefits by Product | 2014 | 2020 | Environmental Benefits | Economic Benefits |
| Products | Annual Energy Savings by 2014 Electric | Annual Energy Savings by 2014 Natural Gas/Oil | Summer Peak Capacity Reduction | Annual Energy Savings by 2020 Electricity | Annual Energy Savings by 2020 Natural Gas/Oil (3) | Summer Peak Capacity Reduction | Annual Carbon Reduction by 2020 | Annual NOx Reduction by 2020 | Annual SO2 Reduction by 2020 | Net Present Value |
|  | MWh (1) | Million Btus | MW | MWh | Million Btus | MW | 1000MT | Metric Tons | Metric Tons | $ (Million) |
| Bottle-Type Water Dispenser | 800 | 8,200 | 0.1 | 1,000 | 10,200 | 0.1 | 0.3 | 0.9 | 1.2 | 0.9 |
| Commercial Boilers | NA | 4,600 | NA | NA | 15,700 | NA | 0.3 | 1.0 | 0.0 | 2.1 |
| Commercial Hot Food Holding Cabinets | 700 | 7,300 | 0.2 | 1,400 | 14,500 | 0.5 | 0.3 | 1.3 | 1.7 | 1.1 |
| Compact Audio Products | 6,600 | 68,600 | 0.9 | 6,600 | 68,600 | 0.9 | 1.4 | 6.1 | 8.0 | 7.4 |
| DVD Players and Recorders | 1,000 | 9,900 | 0.1 | 1,000 | 9,900 | 0.1 | 0.2 | 0.9 | 1.2 | 0.9 |
| Medium Voltage Dry-Type Transformer | 1,000 | 10,500 | 0.1 | 1,900 | 19,900 | 0.3 | 0.4 | 1.8 | 2.3 | 2.3 |
| Residential Furnaces & Boilers (Nat Gas) | NA | 65,000 | NA | NA | 213,800 | NA | 3.5 | 14.2 | 0.0 | 25.7 |
| Residential Furnaces & Boilers (Oil) | NA | 42,500 | NA | NA | 140,400 | NA | 2.3 | 9.4 | 0.0 | 24.9 |
| Furnace Fans | 8,000 | 76,600 | NA | 27,000 | 282,000 | NA | 6.0 | 25.2 | 32.9 | 31.9 |
| BR/ER Reflector Lamps | 21,500 | 222,900 | 5.3 | 21,500 | 222,900 | 5.3 | 4.7 | 19.9 | 26.0 | 21.9 |
| Walk-In Refrigerators and Freezers | 8,700 | 90,300 | 2.0 | 16,000 | 166,000 | 3.7 | 3.5 | 14.8 | 19.4 | 12.7 |
| Total | 48,300 | 606,400 | 8.7 | 76,400 | 1,163,900 | 10.9 | 22.9 | 95.5 | 92.7 | 131.8 |

- 250,000 megawatt-hours is equivalent to the energy use of about 35,000 New England households. (Source: Department of Energy)

- 375,000 million btus is equivalent to the energy use of about 4,500 households.

- Except for residential furnaces and boilers, natural gas savings in this column refer to indirect savings.  The lower electricity use reduces the amount of natural gas needed to run power plants.