# Rhode Island RPS Modeling

Steve Bernow and Alison Bailie, Tellus Institute

# January 24,2002

# Summary of Results

The analysis considered the effects of an RPS in Rhode Island – considering 3 different levels of the RPS (starting at 3% in 2005 and increasing to 10%, 15% or 20% by 2020).  Due to concerns about potentially different future prices for natural gas, two RPS cases (15% and 20%) were analyzed with both higher and lower natural gas prices.  All cases reflect the geographic scope allowing Rhode Island entities to procure generation attributes from a certified eligible plant located in upwind New York State, without requiring an associated energy import to New England through purchasing renewable energy credits (REC).  This analysis does not separately capture

the credit trading for the maintenance tier (existing small hydro and

biomass), but rather focuses on the new tier.  The impacts of the new tier will be larger than the impacts on the maintenance tier.

The key results from the analysis are the change in electricity prices/bills, the type of renewable generation predicted to be developed to meet the RPS, the carbon dioxide emission reductions and the overall costs and savings of the policy.  The key results of the analysis are summarized below.

# Electricity price and bill impacts of a RI RPS -- Assuming EIA natural gas price projections.

- Average electricity prices in RI in 2010 would increase by between 0.05¢/kWh to 0.10¢/kWh (depending on the level of the RPS requirements). These increases correspond to about 0.4% to 0.9% increases over the average total residential electricity price in 2000 (which is11.5¢/kWh)

- Electricity bills for the average residential consumer would increase by 36¢ to 63¢ per month in 2010 (depending on the level of the RPS requirements).

- Electricity price and bill increases are larger by 2020. – Price increases range from 0.10¢to 0.42¢/kWh (about 0.9% to 3.6% over the average total residential electricity price in 2000), while bill increases from 71¢ per month to $2.72 per month

- The RPS leads to lower natural gas bills because it causes overall natural gas demand to decline.  The decrease in individual residential natural gas bills is small, but does somewhat counteract the increased electricity bills for RI customers.

# Electricity price and bill impacts of a RI RPS -- Assuming higher and lower natural gas price projections.

- As expected, and RPS provides some degree of insurance in the event of higher fuel prices.  The analysis with higher natural gas prices indicates that higher natural gas prices reduce the electricity price and bill impacts of the RPS.  It is noteworthy that the increase in electricity and gas bills due to these higher natural gas prices themselves greatly outweighs the potential bill increases due the RPS.

- The analysis with lower natural gas prices indicates a small increases in the electricity price and bill impacts.

- Overall the RPS impacts are not very sensitive to the natural gas prices.  This is partly because the avoided generation is composed of a mix of generation types including coal and petroleum.

# Type of renewable generation development

- When we relax the constraint that generation outside of NE can only be eligible if associated with a bundled energy import into NE (as required under current NEPOOL GIS rules), we project that most of the renewable generation development will occur in New York State.  This policy design allows Rhode Island retail suppliers to purchase renewable energy credits from New York without the extra costs of the bundling.  The Massachusetts and Connecticut RPS do not allow retail suppliers to purchase renewable energy credits from New York State.  The wind generation from NY that is available to meet the RI RPS is lower cost than the wind generation from NE that is available to meet the combined MA, CT and RI RPS requirements.    Because this lower cost renewable generation is available to meet the RI RPS, it accounts for the majority of the new development resulting from the RI RPS.

- The Massachusetts and Connecticut RPS policies will lead to increased wind development within New England.  This analysis indicates that the renewable energy credit prices for these states will be higher than in Rhode Island.  Therefore wind developers in New England would sell credits to Massachusetts or Connecticut in order to obtain greater revenues than selling to Rhode Island.

- The wind generation from NY that is available to meet the RI RPS is lower cost than the wind generation from NE that is available to meet the combined MA, CT and RI RPS requirements.

# Carbon Dioxide Emission Reductions

- If the RPS requirement in 2020 is 10% of total electricity generation, only small carbon dioxide emission reductions occur.

- If the RPS requirement in 2020 is 15% or 20% of total electricity generation in 2020, carbon dioxide reductions would range from 230 to 370 thousand tonnes of carbon per year – these levels are very large for a single policy, about 17% to 25% of the reductions required to meet the Governors and Premiers target.

- The emission reductions do not increase linearly with the RPS targets because different types of generation are avoided and some increased owing to differences in heat rates and the carbon-intensities of fuels, the reliability/capacity contributions of wind version fossil capacity, the impacts on the economics of Canadian imports, the impacts on the economics of retirements. Note that the RPS is not designed with a primary goal of reducing carbon dioxide emissions and some counterintuitive results occur, since various interacting effects are occurring at the same time.

# Overall costs and savings

- The societal impacts of a Rhode Island RPS policy range from net savings to net costs – depending on the geographic range chosen for the analysis [i.e. many of the savings are distributed – small individual drops in electricity and natural prices for the entire usage of all customers throughout the region]

- Increasing the RPS requirement in 2020 from 15% to 20% significantly increases the carbon dioxide emission reductions.  A 20% RPS will have greater electricity price increases than the 15% RPS and will have higher costs to society.  However the savings to society also increase (mainly decreased costs of fuel) so the net costs of the 20% RPS may be lower than the net costs of the 15% RPS.  The cost per tonne of carbon reduced is lower in RPS 20% case.

Analytical Approach

For this analysis, we used the National Energy Modeling System (NEMS) which is the primary energy forecasting and policy analysis model developed and used by the Energy Information Administration (a branch of the U.S. Department of Energy).   NEMS models electricity demand/supply interactions by dividing the US into 13 National Electricity Reliability Council (NERC) regions, some of which embody or approximate power pools. The model ensures that supplies are developed and dispatched to meet the demands in each region, taking account of system reliability, the capital, fuel and O&M costs of new power plant options, the operating costs of existing units, the efficiencies and outage rates of all power plants, transmission and distribution system costs and losses, inter-regional sales and purchases, state renewable energy requirements, and national and regional pollution cap and trade systems.  For each region, NEMS provides information on:

- Amount and type of electricity generation, including non-utility generation, fuel use, imports and exports,

- Carbon dioxide, SO2 , NOx, and mercury emissions and

- costs for new capital investments, fuel and operations, transmission and distribution.

The relevant NERC regions for this analysis were New England and New York state.

We used NEMS to simulate cases for three different levels of Rhode Island RPS, along with the RPS requirements for Massachusetts, Connecticut, and Maine. These three states have existing RPS requirements but often the levels have only been established for years up to 2010.  When required, we assumed requirements that followed existing legislation as much as possible.  Table 1 shows the RPS requirements for each state and for the three Rhode Island RPS cases analyzed in this analysis  This analysis does not separately capture the credit trading for the maintenance tier (existing small hydro and biomass), but rather just for the new tier.

Table 1  RPS requirements (percent targets)

|  | Maine | Connecticut | Massachusetts | Rhode Island |
| --- | --- | --- | --- | --- |
|  |  | Class I | Class II | New | Existing | new and existing |
|  |  |  |  |  |  | RPS 20% | RPS 15% | RPS 10% |
| 2003 | 30% |  |  |  |  |  |  |  |
| 2004 | 30% | 0.5% | 5.5% | 1.0% | 5.0% |  |  |  |
| 2005 | 30% | 0.8% | 5.5% | 1.5% | 5.0% | 3.0% | 3.0% | 2.5% |
| 2006 | 30% | 1.0% | 5.5% | 2.0% | 5.0% | 4.0% | 3.5% | 3.0% |
| 2007 | 30% | 1.5% | 5.5% | 2.5% | 5.0% | 5.0% | 4.0% | 3.5% |
| 2008 | 30% | 2.0% | 6.0% | 3.0% | 5.0% | 6.0% | 4.8% | 4.0% |
| 2009 | 30% | 2.5% | 6.0% | 3.5% | 5.0% | 7.0% | 5.5% | 4.5% |
| 2010 | 30% | 3.0% | 6.0% | 4.0% | 5.0% | 8.0% | 6.3% | 5.0% |
| 2011 | 30% | 4.0% | 7.0% | 5.0% | 5.0% | 9.0% | 7.0% | 5.5% |
| 2012 | 30% | 4.0% | 7.0% | 6.0% | 5.0% | 10.0% | 7.8% | 6.0% |
| 2013 | 30% | 4.0% | 7.0% | 7.0% | 5.0% | 11.0% | 8.5% | 6.5% |
| 2014 | 30% | 4.0% | 7.0% | 8.0% | 5.0% | 12.0% | 9.3% | 7.0% |
| 2015 | 30% | 4.0% | 7.0% | 9.0% | 5.0% | 13.0% | 10.0% | 7.5% |
| 2016 | 30% | 4.0% | 7.0% | 10.0% | 5.0% | 14.0% | 11.0% | 8.0% |
| 2017 | 30% | 4.0% | 7.0% | 10.0% | 5.0% | 15.5% | 12.0% | 8.5% |
| 2018 | 30% | 4.0% | 7.0% | 10.0% | 5.0% | 17.0% | 13.0% | 9.0% |
| 2019 | 30% | 4.0% | 7.0% | 10.0% | 5.0% | 18.5% | 14.0% | 9.5% |
| 2020 | 30% | 4.0% | 7.0% | 10.0% | 5.0% | 20.0% | 15.0% | 10.0% |

Using the base case from the Annual Energy Outlook (AEO2002) we estimated the electricity demand by state and converted the RPS requirement in Table 1 into generation requirements, shown in table 2 for Maine Connecticut and Massachusetts.  Table 3 shows the RPS requirements for Rhode Island with the upper limit for generation from existing plants plus the new generation requirements for each case.

Table 2  RPS requirements (GWh)

|  | Maine | Connecticut | Massachusetts |
| --- | --- | --- | --- |
|  |  | Class I | Class II | New | Existing |
| 2003 | 4,036 |  |  | 493 | 2,466 |
| 2004 | 4,098 | 162 | 1,783 | 751 | 2,504 |
| 2005 | 4,155 | 246 | 1,807 | 1,015 | 2,539 |
| 2006 | 4,224 | 334 | 1,838 | 1,291 | 2,581 |
| 2007 | 4,283 | 508 | 1,863 | 1,570 | 2,617 |
| 2008 | 4,344 | 687 | 2,062 | 1,858 | 2,654 |
| 2009 | 4,410 | 872 | 2,093 | 2,156 | 2,695 |
| 2010 | 4,474 | 1,062 | 2,123 | 2,734 | 2,734 |
| 2011 | 4,539 | 1,077 | 2,154 | 3,328 | 2,774 |
| 2012 | 4,605 | 1,091 | 2,182 | 3,933 | 2,809 |
| 2013 | 4,664 | 1,104 | 2,207 | 4,547 | 2,842 |
| 2014 | 4,718 | 1,116 | 2,232 | 5,174 | 2,874 |
| 2015 | 4,772 | 1,128 | 2,256 | 5,810 | 2,905 |
| 2016 | 4,823 | 1,138 | 2,277 | 5,863 | 2,932 |
| 2017 | 4,868 | 1,149 | 2,298 | 5,919 | 2,959 |
| 2018 | 4,914 | 1,160 | 2,320 | 5,975 | 2,988 |
| 2019 | 4,960 | 1,171 | 2,342 | 6,032 | 3,016 |
| 2020 | 5,007 | 1,182 | 2,364 | 6,088 | 3,044 |

Table 3  RPS requirements (GWh) – Rhode Island

|  | existing (max) | New (if existing = max) |
| --- | --- | --- |
|  |  | RPS 20% | RPS 15% | RPS 10% |
| 2005 | 142 | 119 | 119 | 75 |
| 2006 | 145 | 210 | 166 | 121 |
| 2007 | 148 | 304 | 214 | 169 |
| 2008 | 151 | 402 | 287 | 218 |
| 2009 | 153 | 504 | 363 | 269 |
| 2010 | 156 | 609 | 442 | 322 |
| 2011 | 158 | 712 | 519 | 374 |
| 2012 | 159 | 817 | 597 | 426 |
| 2013 | 161 | 923 | 677 | 480 |
| 2014 | 162 | 1,031 | 758 | 534 |
| 2015 | 164 | 1,142 | 840 | 589 |
| 2016 | 166 | 1,254 | 950 | 645 |
| 2017 | 167 | 1,419 | 1,061 | 703 |
| 2018 | 169 | 1,587 | 1,174 | 761 |
| 2019 | 170 | 1,757 | 1,288 | 820 |
| 2020 | 172 | 1,931 | 1,405 | 879 |

# Calculation of Rate Impacts

The RPS will increase electricity rates in Rhode Island.  The amount of the increase depends on the additional cost of the renewable generation available to meet the RPS over the cost of the fossil fuel generation that this renewable generation would displace (or the incentive required by renewable electricity suppliers to make their generation competitive over other options).  This additional cost is referred to as the Renewable Energy Credit and is expressed in cents/kWh.  Note that different generators will require different levels of incentives.  For example, for a given avoided fossil generation, a good wind site, close to transmission lines would require a relatively small incentive, while wind sites with lower wind potential or more difficulty linking to transmission lines or for biomass generation with high fuel costs, would require a higher incentive. The renewable energy credit reflects the highest incentive required to meet the renewable generation target in that year.

Retail electricity suppliers that need to purchase renewable credits from other suppliers will pass the cost of these purchases to the consumers through electricity prices.  The amount paid by retail suppliers is equal to the amount of renewable generation required by the supplier (total load * RPS target %) multiplied by the price of a renewable energy credit in that year.  So if a retail supplier sells 100,000 MWh in one year in Rhode Island and the RPS target is 10% in that year, the supplier must hold 10% * 100,000 MWh = 10,000 MWh of renewable energy credits.  If the price of a credit is 1.2 cents/kWh, the supplier will spend 1.2 cents/kWh * 10,000 MWh = $120,000.  The supplier will pass this cost back to the consumer through increasing prices by $120,000 / 100,000 MWh = $1.2 / MWh or 0.12 cents/kWh.  So in this example, rates would increase by 0.12 cents/kWh.

The full calculation simplifies to:

Increase in rates = renewable credit price * RPS target (%)

Cost Components

For analyzing the impacts of an RPS on Rhode Island, we have calculated the social costs and savings of the policy.  These are calculated as the difference between the base case and the policy case (i.e., RPS in Rhode Island, Massachusetts and Connecticut).  Because the difference is caused by all three RPS requirements, we allocate only a portion of the costs and savings associated with changes in New England to Rhode Island – based on the contribution of the Rhode Island RPS to the total requirements for increased renewable generation.  However, the Rhode Island RPS, as analyzed, allows the state to meet the renewable generation requirements with renewable energy credits purchased from New York State, while the other states do not allow these credits.  So the costs and savings associated with increased renewable generation in New York State are allocated only to Rhode Island.

The costs are presented as “cumulative net present value” from 2000-2020.  The costs and benefits in each year are summed over the 20-year period.  This calculation converts costs in future years to their “present value.”  The present value is the value today of an amount of money realized in the future and it accounts for the time preference of money. People prefer to have $100 today rather than 5 years from now because they can invest it and earn a rate of return that will increase its value over 5 years.  This is true even without inflation (All costs in this analysis have been converted to real 2000$ to remove the effects of inflation). The present value of the $100 received ten years from now is less than $100 by the expected increased value of the investment.  We used a 5% real discount rate to calculate the present value, so $100 in 2008 is equivalent to $78 today.

We have calculated the costs and savings from two perspectives, regional and in Rhode Island.  The regional calculation attempts to capture the indirect impacts of the policy – because some of the renewable generation and other policy impacts will occur outside of Rhode Island and New England, we have considered the costs and savings in New England and New York State.  Costs and savings will also occur in other states, but we estimate these to be small.  The in Rhode Island calculation attempts to capture the more immediate impacts of the policy in Rhode Island.  It does include the electricity generation costs and savings that will occur in New England to meet Rhode Island demand but it excludes costs and savings that occur in New York State, except as they directly impact Rhode Island consumers.

Rhode Island RPS impacts (regional):

These costs capture the impact of the Rhode Island RPS on the region including all of New England and New York State.  They are composed of the following :

Costs:

Capital – this value is the difference in capital investments in power plants in New England.  The RPS leads to more renewable plants and fewer fossil fuel plants.  Since renewable plants have greater capital costs than fossil plants, the RPS case has higher capital costs than the base case.

Operating and Maintenance – this value is the difference in operating and maintenance costs at power plants in New England.  The renewable plants tend to have higher operating and maintenance costs than the fossil fuel plants so this is a net cost of the RPS.

Savings:

Fuel - this value is the difference in fuel costs in power plants in New England.  Wind generation has zero fuel costs while biomass generation has slightly higher fuel costs than most fossil fuel plants.  Since the RPS leads to more wind generation than biomass the fuel costs are lower in the RPS case than in the base case.  This term also captures the effects of lower natural gas prices (due to lower natural gas demand) for the electric sector in the RPS case, further lowering fuel costs in that case.

Imports - this value is the difference in expenditures in imported electricity in New England.  The RPS leads to incentives for renewable plants in this region leading to small decreases in the amount of electricity imported by New England.

NG feedback in NE – this value measures the difference in natural gas bills of the residential, commercial and industrial consumers.  The RPS leads to lower natural gas demand from electric power plants, which leads to slightly lower natural gas prices for all customers.  While the price changes are very small, they are multiplied by large demand and lead to some net savings.

NG feedback to NYS – This value measures the difference in natural gas bills to residential, commercial and industrial consumers in New York state.  The natural gas prices will decrease in this state, due to increased renewables generation in this state and decreased natural gas demand.  Although these savings occur outside of Rhode Island, the Rhode Island RPS is the cause of these savings.

New York wind – this value captures all four components of changes in power plants costs – capital, operating and maintenance, fuel and imports due to increased renewables generation in New York state.  Like the New England values, New York power plants would see increased capital costs, increased operating and maintenance costs, decreased fuel costs and decreased cost of electricity imports.  For New York, the increased renewables generation lead to overall net savings.  The decreased costs of imports plays a significant role in leading to these savings.

Rhode Island RPS impacts (in Rhode Island):

We also calculated the impacts of the Rhode Island RPS from the point of view of Rhode Island consumers.

Additional components:

New York Wind Credits – this is the price of the wind credits purchased from New York wind generators.  This cost does not appear in the regional calculation because it is a transfer from Rhode Island consumers to New York wind developers.  The cost to Rhode Island is exactly balanced by the savings to the New York generators, so from a regional point of view there is no net cost or benefit.  However, when only considering the Rhode Island impact this is a net cost.

NG feedback to RI – in the regional analysis, we calculated the change in natural gas bills for all residential, commercial and industrial consumers in New England, but only allocated a portion of this amount to Rhode Island, based on the contribution of the Rhode Island RPS to total new renewable generation.  This method accounts for the full impact of the Rhode Island RPS, whether it savings those in Rhode Island or those in the rest of New England. For the in Rhode Island case, the NG feedback value was calculated as the change in natural gas bills of residential, commercial and industrial consumers in Rhode Island.

Removed components:

NG feedback to NE – as explained above, this value was removed and replaced with the NG feedback to Rhode Island consumers only.

NG feedback to NYS – because we are focused on impacts to Rhode Island consumers, this cost is not relevant.

New York wind – the costs of developing wind in New York and the savings of lower fuel and import costs only occur in New York so are not included in this calculation.

The regional calculation leads to net savings while the in Rhode Island calculation shows net costs.  This difference is due to:

- lower savings from natural gas price feedback – for the in Rhode Island calculation we only track the savings that would occur to natural gas consumers in Rhode Island, rather than allocating the savings that occur outside of Rhode Island based on the policy impacts.  The in Rhode Island amount is much lower than the regional amount because none of the savings in New York State are credited to Rhode Island.

- wind generation in New York State – the renewable energy credits from the Rhode Island RPS will lead to greater renewable generation in New York State.  This requires additional capital costs but saves on fuel costs (since generators will be using fossil fuel).  The price of a credit is the incremental amount required by a generator to use renewable generation rather than fossil generation.  Rhode Island consumers will pay the price of these credits to the generators in New York State.  New York state generators will gain profit from the credits (the credit price reflects the highest incremental amount required for a generator to use renewables, all generators with lower incremental costs will gain some profits).  In the regional calculation the profit to renewable generators is a loss to consumers but gain to generators and these values exactly match one another and cancel to yield a net zero change.   For the In Rhode Island calculation we only include the cost to Rhode Island consumers; this is large and is the major cause of the net cost for this calculation. The In Rhode Island calculation also excludes savings of lower natural gas prices to all electricity generators using natural gas and savings of lower import costs due to increased total generation resulting from incentives to renewable generators.

Appendix A:  Key Inputs to Modeling

Our analyses uses the most recent version of the National Energy Modeling System (NEMS) available from the Energy Information Administration (EIA).  NEMS is able to provide information on electricity generation by type, costs to the electric sector, rate impacts, and carbon, SO2 and NOx emissions from power plants by NERC region -- the relevant regions for this analysis – taking account inter-regional exchanges, criteria air pollutant cap/trade systems, status of regulation/restructuring, inter-annual dynamics, etc.  NEMS does not provide detail on the location of new power plants within a NERC region (for example, it provides new builds in New England but not by state; it also provides new builds in NYS, PJM etc).

While we generally used the peer-reviewed input assumptions for NEMS (based on the Annual Energy Outlook 2002 analysis), we changed the following two key renewable energy assumptions.

- We reduced the availability of windy land areas by about 70% – based on input from Michael Brower, True Wind Solutions, who has recently mapped the wind potential in New England.

- We removed the demolition debris from supply curves for biomass in New England, based on RPS design criteria.

Both changes are described in more detail below.

The NEMS analysis involves adding financial incentives (the market clearing credit) to eligible renewable generation, then running the model to determine renewable generation output.  We would iterate on the financial incentives until the target amount of renewable generation is met.  Renewable resources that do not qualify for the RPS (either due to the type, vintage, or location) would not receive the financial incentive.  The level of the incentive indicates the market price for buying and selling renewable energy credits.

Power Plant Assumptions

The following section describes some of the input assumptions used by NEMS.  Since NEMS integrates energy demand and supply each year in the twenty-year time horizon, many important aspects of the analysis are results of the simulation rather than inputs. For example, the natural gas price is endogenous to NEMS, based on simulation of the sources, technologies and transport for supply as well as interactions between demand and supply; it thus changes from year to year based on demand and supply characteristics and interactions calculated within the model.  As natural gas demand changes, so will price.  Therefore natural gas price is not an input assumption in the analysis but a endogenous output.  Similarly the capital costs of power plants depend on the amount of installed capacity – especially for renewable technologies, which may have cost decreases owing to learning or scale economies as installed capacity increases.

Table 1 presents the main assumptions for new power plant characteristics in NEMS.  The values in Table 1 are a combination of input and scenario output, as explained above.  The Annual Energy Outlook 2002 served as the base scenario for Table 1.  The values shown represent new power plants in New England (NE).  The range of costs shown for variable O&M represents the range of fuel prices in the regions and over time plus the assumptions of improved power plant efficiency over time.  The wind capacity factors also represent technological improvements over time and cover a range of class 4, 5, and 6 sites.

Table 1  Power Plant characteristics – Basecase

Note:  The values represent the conditions in the basecase for the Annual Energy Outlook 2002.

Table 2 shows the same characteristics under the RPS case conditions.  These are a combination of input and output from the run.  NEMS endogenously changes capital costs to account for increased capital costs for wind (as the best sites are already used and more costly sites must be considered), and decreased capital costs for renewables (as developers learn from experience of other sites and manufacturing costs decrease), These impacts have the strongest impact on wind, biomass and landfill gas plants since their initial capacity levels are low.  Wind plants are the only type impacted by increased costs due to siting costs.  The cost of wind plants in New England differs from costs in New York State due to assumptions on high costs of developing sites in New England – both regions face increased costs at increased levels of development but New England is assumed to have fewer available sites at without the extra development costs.  The costs assume large amounts of wind development in each region whereas the analysis we have completed indicates that wind will be developed in either New York State or New England based on policy design.

Table 2  Power Plant characteristics – RPS case

# Changes to wind areas

Our discussions with Michael Brower, Brower and Associates, indicated that the assumptions for developable wind sites in New England and New York State in the AEO2002 are overly optimistic.  This conclusion was based on Dr. Brower’s recent analysis of wind sites in these regions along with knowledge of the wind development situation in the Northeast and knowledge of NEMS modeling methodology.  Table 3 indicates the impacts of the changes that we made on the potential wind capacity by class.  We based these assumptions on the detailed mapping that Dr. Brower did for all the potential windy sites but only considering 15% of these sites as “developable”.

| Table 3 Potential Wind Capacity in New England (MW) |
| --- |
|  | Class 6 | Class 5 | Class 4 | Total |
| AEO2002 | 166 | 3,578 | 5,087 | 8,831 |
| adjusted | 166 | 1,085 | 1,542 | 2,794 |
| Potential Wind Capacity in New York State (MW) |
|  | Class 6 | Class 5 | Class 4 | Total |
| AEO2002 | - | 279 | 3,119 | 3,398 |
| adjusted | - | 275 | 2,213 | 2,488 |

# Biomass Supply Curve

The biomass supply curve from AEO2002 for New England was adjusted to remove demolition debris in New England.  This was the only method available to keep demolition debris sources from the Rhode Island RPS (though it might result in slightly higher cost estimates for the policy).  This figure below shows the biomass supply curve adjustments for New England and also shows the New York state supply curve to indicate the relatively high costs of biomass in this region.

# Financing Assumptions

The financial parameters for New England are:

|  | long term debt | short term debt | common equity | preferred stock |
| --- | --- | --- | --- | --- |
| fraction of financing type | .5123 | .0393 | .3529 | .0955 |
| cost of capital | .10 | .10 | .13 | .14 |

These combine to an overall cost of capital of 11.44%.

|  | long term debt | short term debt | common equity | preferred stock |
| --- | --- | --- | --- | --- |
| fraction of financing type | .5196 | .0064 | .3932 | .0808 |
| cost of capital | .10 | .10 | .115 | .13 |

These combine to an overall cost of capital of 10.83%.

These financing costs are consistent with conventional utility finance; but experience suggests that financing costs could be higher in a market environment in which the utilities are not the ones purchasing long-term.

# Cost of import under NEPOOL GIS

Under the GIS eligibility criteria, we had assumed an additional cost of $15/MWh would be required by generators in New York State in order to bundle and import the electricity into New England.